                  Lenox Township Department of Public Works

2020 Consumers Annual Report

On Water Quality

Attention:  THIS IS AN IMPORTANT REPORT ON WATER QUALITY AND SAFETY

This report contains important information about your drinking water. Have someone translate it for you or speak with someone who understands it.
Lenox Township’s Department of Public Works (DPW) wants you to know your tap water is safe to drink and that is meets or surpasses all federal and state standards for quality and safety.
The Lenox Township DPW is proud of the fine drinking water it supplies and is honored to provide this report to you.  The 2020 Consumers Annual Report on Water Quality shows the sources of our water, lists the results of our tests, and contains important information about water and health. The Lenox Township DPW will notify you immediately if there is ever any reason for concern about our water.  We are pleased to show you how we have surpassed water quality standards as mandated by the Environmental Protection Agency (EPA) and the State of Michigan Department of Environmental Quality (MDEQ).
About Our System
Lenox Township DPW provides drinking water to approximately 3,000 people in the 36 square mile area. The system uses water drawn from two master meters. The water traversing through the master meter is supplied and purchased from the Great Lakes Water Authority, otherwise known as GLWA for Information purposes throughout this report, the water supplied to Lenox Township from GLWA is from the Lake Huron treatment plant.

The Great Lakes Water Authority

January 1, 2016 marked the launch of a regional water authority in southeast Michigan. The City of Detroit, the counties of Macomb, Oakland, Wayne, and the State of Michigan have officially united to form the Great Lakes Water Authority (GLWA). The new authority is yet one more piece of the grand bargain to not only position an emerging Detroit for long term success but to give the suburban water and sewer customers a powerful voice in the management and direction of one of the largest water and wastewater utilities in the nation. GLWA begins management control of the regional water and wastewater services, while Detroit, like suburban communities throughout the region, will retain control of water and sewer services within the City limits. The GLWA has signed a 40-year lease with Detroit for $50 million a year. Detroit will use these funds to overhaul its aging infrastructure. The lease also provides for a $4.5 million Water Residential Assistance program to help low income customers of GLWA customer communities pay their water bills.  GLWA is comprised of six board members: two from the City of Detroit, and one each from Wayne, Oakland, and Macomb Counties, plus one representing the State of Michigan.
For more information, please visit The Great Lakes Water Authority website:  www.glwater.org
Great Lakes Water Authority
The Great Lakes Water Authority (GLWA) provides drinking water to approximately 4.0 million people in 126 southeastern Michigan Communities. The system uses water drawn from two intakes in the Detroit River, one to the north near the mouth of Lake St. Clair and one to the south near Lake Erie. The water is directed to four (4) large water treatment plants for processing. A fifth water treatment plant located in St. Clair County uses surface water from Lake Huron. Your source water comes from the lower Lake Huron watershed. The watershed includes numerous short, seasonal streams that drain to Lake Huron. The Michigan Department of Environmental Quality in partnership with the Detroit Water and Sewerage Department and several other governmental agencies performed a source water assessment in 2004 to determine the susceptibility or relative potential of contamination. The susceptibility rating is a seven-tiered scale ranging from “very low” to “very high” based primarily on geologic sensitivity, water chemistry, and contaminant sources. The Lake Huron source water intake is categorized as having a moderately low susceptibility to contaminant sources. The Lake Huron water treatment plant has historically provided satisfactory treatment of this source water to   meet drinking water standards.
  In 2015, GLWA received a grant from the Michigan Department of Environmental Quality to develop a source water protection program (SWIPP) for the Lake Huron Treatment Plant Intake. The program includes seven elements that include the following: roles and duties of government units and water supply agencies, delineation of a source water protection area, identification of potential of source water protection area, management approaches for protection, contingency plans, siting of new sources and public participation and education. If you would like to know more information about the Source Water Assessment or the SWIPP please contact the Lenox Township Department of Public Works at (586) 749-0230.
How Do We Know the Water Is Safe to Drink?

GLWA treatment facilities operate 24 hours a day, seven days a week. The treatment process begins with disinfecting the source water with chlorine to kill harmful microorganisms that can cause illness.  Next, a chemical called Alum is mixed with the water to remove the fine particles that make the water cloudy or turbid. Alum causes the particles to clump together and settle to the bottom. Fluoride is also added to protect our teeth from cavities and decay.
The water then flows through fine sand filters called beds. These filters remove even more particles and certain microorganisms that are resistant to chlorine.  Finally, a small amount of phosphoric acid and chlorine are added to the treated water just before it leaves the treatment plant.  The phosphoric acid helps control the lead that may dissolve in water from household plumbing systems.  The chlorine keeps the water disinfected as it travels through water mains to reach your home.
In addition to a carefully controlled and monitored treatment process, the water is tested for a variety of substances before treatment, during various stages of treatment, and throughout the distribution system.  Hundreds of samples are tested each week in certified laboratories by highly qualified trained staff.  GLWA not only meets safety and health standards but also ranks among the top 10 in the country for quality and value.
Additional Information

Drinking water, including bottled water, may reasonably be expected to contain at least small amounts of some contaminants.  The presence of contaminants does not necessarily indicate that water poses a health risk.  More information about contaminants and potential health effects can be obtained by calling the Environmental Protection Agency’s Safe Drinking Water Hotline (800-426-4791).
The sources of drinking water (both tap water and bottled water) include rivers, lakes, streams, ponds, reservoirs, springs, and wells.  As water travels over the surface of the land or through the ground, it dissolves naturally occurring minerals and, in some cases, radioactive material, and can pick up substances resulting from the presence of animals or from human activity.

Contaminants that may be present in source water include:

· Microbial contaminants, such as viruses and bacteria, which may come from sewage treatment plants, septic systems, agricultural livestock operations, and wildlife.

· Inorganic contaminants, such as salts and metals, which can be naturally occurring or result from urban storm water runoff, industrial or domestic wastewater discharges, oil and gas production, mining, or farming.

· Pesticides and herbicides, which may come from a variety of sources such as agriculture, urban storm water runoff, and residential uses.

· Organic chemical contaminants including synthetic and volatile organics, which are by products of industrial processes and petroleum production, and can also come from gas stations, urban storm water runoff and septic systems.

· Radioactive contaminants which can be naturally occurring or be the result of oil and gas production and mining activities, The State allows us to monitor for certain contaminants less than once per year because the concentrations of these contaminants are not expected to vary significantly from year to year. All the data is representative of the water quality, but some are more than one year old.

In order to ensure that tap water is safe to drink, EPA prescribes regulations, which limit the amount of certain contaminants in water provided by public water systems.  The Food and Drug Administration (FDA) regulations establish limits for contaminants in bottled water, which must provide the same protection for public health. Unregulated contaminants are those for which EPA has not established drinking water standards. Monitoring helps EPA to determine where certain contaminants occur and whether it needs to regulate those contaminants. 
	Symbol
	Abbreviation
	Definition/Explanation

	AL
	Action Level
	The concentration of a contaminant, which, if exceeded, triggers treatment or other requirements which a water system must follow.

	°C
	Celsius
	A scale of temperature in which water freezes at 0° and boils at 100° under standard conditions.

	>
	Greater than
	

	HAA5
	Halo acetic Acids
	HAA5 is the total of bromoacetic, chloroacetic, Dibromo acetic, dichloroacetic, and trichloroacetic acids. Compliance is based on the total.

	Level 1 
	Level 1 Assessment
	A Level 1 assessment is a study of the water system to identify potential problems and determine (if possible) why total coliform bacteria have been found in the water system.

	Level 2
	Level 2 Assessment 
	A Level 2 assessment is a very detailed study of the water system to identify potential problems and determine (if possible) why an E. coli MCL violation occurred and/or why total coliform bacteria have been found in our water system on multiple occasions.

	LRAA
	Locational Running Annual Average
	The average of analytical results for samples at a particular monitoring location during the previous four quarters.

	MCL
	Maximum Contaminant Level
	The highest level of a contaminant that is allowed in drinking water.  MCLs are set as close to the MCLGs as feasible using the best available treatment technology.

	MCLG
	Maximum Contaminant Level Goal
	The level of contaminant in drinking water below which there is no known or expected risk to health.

	MRDL
	Maximum Residual Disinfectant Level
	The highest level of disinfectant allowed in drinking water.  There is convincing evidence that addition of a disinfectant is necessary for control of microbial contaminants.

	MRDLG
	Maximum Residual Disinfectant Level Goal
	The level of a drinking water disinfectant below which there is no known or expected risk to health.  MRLDG’s do not reflect the benefits of the use of disinfectants to control microbial contaminants.

	n/a
	not applicable
	

	ND
	Not Detected
	

	NTU
	Nephelometric Turbidity Units
	Measures the cloudiness of water.

	pCi/L
	Picocuries Per Liter
	A measure of radioactivity

	ppb
	Parts Per Billion (one in one billion)
	The ppb is equivalent to micrograms per liter.

A microgram = 1/1000 milligram.

	ppm
	Parts Per Million (one in one million)
	The ppm is equivalent to milligrams per liter.

A milligram = 1/1000 gram.

	RAA
	Running Annual Average
	The average of analytical results for all samples during the previous four quarters.

	SMCL
	Secondary Maximum Contaminant Level
	An MCL which involves a biological, chemical, or physical characteristic of water that may adversely affect the taste, odor, color, or appearance (aesthetics), which may thereby affect public confidence or acceptance of the drinking water.

	TT
	Treatment Technique
	A required process intended to reduce the level of a contaminant in drinking water.

	TTHM
	Total Trihalomethanes
	Total Trihalomethanes is the sum of chloroform, bromodichloromethane, dibromochloromethane and bromoform. Compliance is based on the total.

	μohms
	Microohms
	Measure of electrical conductance of water


            Key to the Detected Contaminants Table

2020 Lake Huron Regulated Detected Contaminants Table

	2020 Inorganic Chemicals - Annual Monitoring at Plant Finished Tap

	Regulated

Contaminant
	Test Date
	Unit
	Health Goal

MCLG
	Allowed Level

MCL
	Highest

Level Detected
	Range of

Detection
	Violation
	Major Sources in Drinking Water

	Fluoride
	3-10-2020
	ppm
	4
	4
	0.72
	n/a
	no
	Erosion of natural deposit; Water additive, which promotes strong teeth; Discharge from fertilizer and aluminum factories.

	Nitrate
	3-10-2020
	ppm
	10
	10
	0.30
	n/a
	no
	Runoff from fertilizer use; Leaching from septic tanks, sewage; Erosion of natural deposits.

	Barium
	5-16-17
	ppm
	2
	2
	0.01
	n/a
	no
	Discharge of drilling wastes; Discharge from metal refineries; Erosion of natural deposits.


	2020 Disinfection Residual - Monitoring in the Distribution System

	Regulated

Contaminant
	Test

Date
	Unit
	Health Goal

MRDLG
	Allowed Level

MRDL
	Highest

Level

RAA
	Range of

Quarterly Results
	Violation
	Major Sources in Drinking Water

	Total Chlorine Residual
	2020
	ppm
	4
	4
	0.77
	0.70-0.85
	no
	Water additive used to control microbes


	2020 Disinfection By-Products - Stage 2 Disinfection By-Products Monitoring in the Distribution System

	Regulated

Contaminant
	Test Date
	Unit
	Health Goal

MCLG
	Allowed Level

MCL
	Highest

Level LRAA
	Range of

Quarterly Results
	Violation
	Major Sources in Drinking Water

	(TTHM) 

Total Trihalomethanes
	2020
	ppb
	n/a
	80
	54
	67-38
	no
	By-product of drinking water chlorination

	(HAA5)

Halo acetic Acids
	2020
	ppb
	n/a
	60
	13.2
	6.1-23
	no
	By-product of drinking water chlorination


	2020 Turbidity - Monitored Every 4 Hours at the Plant Finished Water Tap

	Highest Single Measurement Cannot Exceed 1 NTU
	Lowest Monthly % of Samples Meeting Turbidity Limit of 0.3 NTU (minimum 95%)
	Violation
	Major Sources in Drinking Water

	0.10 NTU
	100%
	no
	Soil Runoff

	Turbidity has no health effects. However, turbidity can interfere with disinfection and provide a medium for microbial growth. Turbidity may indicate the presence of disease-causing organisms. These organisms include bacteria, viruses, and parasites that can cause symptoms such as nausea, cramps, diarrhea, and associated headaches.


	
	Treatment Technique
	Typical Source of Contaminant

	Total Organic Carbon ppm
	The Total Organic Carbon (TOC) removal ratio is calculated as the ratio between the actual TOC removal and the TOC removal requirements.  The TOC is measured each quarter and because the level is low, there is no requirement for TOC removal.
	Erosion of natural deposits


	Radionuclides - Monitored at the Plant Finished Tap in 2014

	Regulated Contaminant
	Test Date
	Unit
	MCLG
	MCL
	Level Detected
	Violation
	Major Sources in Drinking Water

	Combined Radium 

Radium 226 and 228
	5/13/14
	pCi/L
	0
	5
	0.86 + 0.55
	no
	Erosion of natural deposits


	Lead and Copper Monitoring at the Customer’s Tap in 2020

	Regulated

Contaminant
	Test Date
	Unit
	Health Goal

MCLG
	Action Level

AL
	90th Percentile Value*
	Number of Samples Over AL
	Range of 

Individual 

Samples

Results
	Violation
	Major Sources in Drinking Water

	Lead
	2020
	ppm
	0
	15
	0
	0 
	0-0
	no
	Lead services lines, corrosion of household, plumbing including fittings and fixtures; erosion of natural deposits

	Copper
	2020
	ppm
	1.3
	1.3
	0.1 
	0 
	0.0-0.1
	no
	Corrosion of household plumbing system; Erosion of natural deposits; leaching from wood preservatives.

	* The 90th percentile value means 90 percent of the homes tested have lead and copper levels below the given 90th percentile value. If the 90th percentile value is above the AL additional requirements must be met.


	2020 Special Monitoring

	Contaminant
	Test Date
	Unit
	MCLG
	MCL
	Highest Level Detected
	Source of Contaminant

	Sodium 
	3-10-2020
	ppm
	n/a
	n/a
	4.91
	Erosion of natural deposits


These tables are based on tests conducted by GLWA in the year 2020 or the most recent testing done within the last five calendar years. GLWA conducts tests throughout the year only tests that show the presence of a substance or require special monitoring are presented in these tables. The State allows us to monitor for certain contaminants less than once per year because the concentrations of these contaminants are not expected to vary significantly from year to year. All the data is representative of the water quality, but some are more than one year old.
	2020 Lake Huron Tap Water Mineral Analysis

	Parameter
	Units
	Max.
	Min.
	Avg.
	
	Parameter
	Units
	Max.
	Min.
	Avg.

	Turbidity
	NTU
	0.11 
	0.05 
	0.07 
	
	Chloride
	ppm
	11.9 
	7.9 
	9.4 

	Total Solids
	ppm
	164 
	53 
	128 
	
	Phosphorus
	ppm
	1.23 
	0.12 
	0.51 

	Total Dissolved Solids
	ppm
	138 
	56 
	117 
	
	Free Carbon Dioxide
	ppm
	8.2 
	4.2 
	5.5 

	Aluminum
	ppm
	0.242 
	0.057 
	0.182 
	
	Total Hardness
	ppm
	106 
	96 
	100 

	Iron
	ppm
	0.192 
	ND
	0.112 
	
	Total Alkalinity
	ppm
	82 
	70 
	75 

	Copper
	ppm
	ND
	ND
	ND 
	
	Carbonate Alkalinity
	ppm
	ND
	ND 
	ND

	Magnesium
	ppm
	8.22 
	6.88 
	7.50 
	
	Bi-Carbonate Alkalinity
	ppm
	82 
	70 
	75 

	Calcium
	ppm
	30.6 
	24.7 
	27.3 
	
	Non-Carbonate Hardness
	ppm
	30 
	22 
	25 

	Sodium
	ppm
	5.94 
	4.39 
	4.92 
	
	Chemical Oxygen Demand
	ppm
	4.1 
	ND
	1.5 

	Potassium
	ppm
	1.11 
	0.91 
	1.00 
	
	Dissolved Oxygen
	ppm
	13.0 
	8.2 
	10.5 

	Manganese
	ppm
	ND
	ND
	ND
	
	Nitrite Nitrogen
	ppm
	ND
	ND
	ND 

	Lead
	ppm
	ND
	ND
	ND
	
	Fluoride
	ppm
	0.87 
	0.60 
	0.71 

	Zinc
	ppm
	ND 
	ND
	ND 
	
	pH
	
	7.57 
	7.30 
	7.44 

	Silica
	ppm
	2.4 
	1.7 
	2.1 
	
	Specific Conductance @ 25 °C.
	µohms
	265 
	201 
	221 

	Sulfate
	ppm
	24.3 
	17.9 
	19.9 
	
	Temperature
	°C
	23.9 
	5.5 
	13.9 


                                                Important Health Information

Lead

Lenox Township has tested homes with plumbing systems that may contribute lead to the household water supply.  The latest round of testing shows that none of the homes tested have lead levels above the action level, all of the approximately 200 service lines connected utilize copper plumbing. There are no homes in Lenox Township with lead service lines.  There are homes constructed prior to the mid 1980's that may have interior lead solder joint plumbing. If present, elevated levels of lead can cause serious health problems, especially for pregnant women and young children.  Lead in drinking water is primarily from materials and components associated with service lines and home plumbing. Lenox Township DPW is responsible for providing high quality drinking water but cannot control the variety of materials used in plumbing components. When your water has been sitting for several hours, you can minimize the potential for lead exposure by flushing your tap for 30 seconds to 2 minutes before using the water for drinking or cooking. If you have a lead service line it is recommended that you run your water for 5 minutes to flush water from both your home plumbing and the lead service line. If you are concerned about lead in your water, you may wish to have it tested. Information on lead in drinking water, testing methods, and steps you can take to minimize exposure is available from the safe drinking water hotline at (800) 426-4791 or at http://www.epa.gov/safewater/lead. 

 You can take the following precautions to minimize your exposure to lead that may have leached into your drinking water from your pipes.

· Run your water for 30 seconds to 2 minutes.  This practice should be followed anytime your water has not been used for more than 6 hours.

· Always use cold water for drinking, cooking, or making baby formula.

· Use faucets and plumbing material that are either lead free or will not leach unsafe levels of lead into your water.

People with Special Health Concerns  

Some people may be more vulnerable to contaminants in drinking water than the general population.  Immuno-compromised persons such as persons with cancer undergoing chemotherapy, persons who have undergone organ transplants, people with HIV/AIDS or other immune system disorders, some elderly, and infants can be particularly at risk from infections. Some people who drink trihalomethanes in excess of the MCL over many years may experience problems with their liver, kidneys, or central nervous systems, and may have an increased risk of getting cancer.  These people should seek advice about drinking water from their health care providers.  EPA/CDC guidelines on appropriate means to lessen the risk of infection by cryptosporidurn and other microbial contaminants are available from the Safe Drinking Water Hotline (800-426-4791).
Cryptosporidium

Cryptosporidium is a microbial parasite found in surface water throughout the U.S. Although filtration removes cryptosporidium, the most commonly used filtration methods cannot guarantee 100% removal. Our monitoring indicates the presence of these organisms in our source/ finish water.  Current test methods do not allow us to determine if the organisms are dead or alive. Ingestion of Crytosporidium may cause cryptosporidiosis, an abnormal infection. Symptoms of infection include nausea, diarrhea, and abdominal cramps. Most healthy individuals can over come the disease within a few weeks. However, immuno-compromised people, infants and small children, and the elderly are at greater risk of developing life-threatening illness. We encourage immuno-compromised individuals to consult with their doctor regarding appropriate precautions to take to avoid infection. Cryptosporidium must be taken in through the mouth to cause disease and it may be passed by other means than drinking water.

Opportunities for Public Participation

The Lenox Township Board of Trustees meets the first Monday of each month. This meeting is for the general public to address the Board of Trustees with any problems or situations that the Board should be aware of.  This meeting does not discuss the quality of water and any questions regarding water quality will be directed to the office of the DPW.

We welcome your comments and opinions about this report and will be happy to answer any questions you may have. Please direct your comments or questions to the Lenox Township DPW at (586) 749-0230.
Other Monitoring
In addition to the testing that is required to be performed, GLWA voluntarily tests for hundreds of additional substances and microscopic organisms to make certain our water is safe and of the highest quality.

"El informe contiene informacion importante Sobre la calidad del agua en su comunidad. Tradumalo o hable con alquien que lo entienda bien"

C:\Users\Cam\Documents\CCR Reports\2020 CCR report .doc
                       Page 6 of 8

